## Slide 1: High School UNDERGROUND UTILITY DAMAGE PREVENTION Locating Utilities
Presentation by:
On Month Day 2022

## Slide 2
An education initiative by the Kentucky Transportation Cabinet

## Slide 3: in partnership with:

## Slide 4
What are utilities?
Occupying road right of way
Locating utilities before excavating
Utilities test equipment
Utilities layout

## Slide 5
What are utilities?
 Electricity
 Gas
 Crude oil
 Water
 Sewage
 Other fluid
 Phone and Cable
*Conveyed to or for the public, for compensation
Kentucky Revised Statute KRS 278.010

## Slide 6
Why are utilities in a row?
Kentucky Revised Statute KRS 416-140
Utilities may construct and maintain lines in the road right-of-way
They can’t interfere with the road
The Department of Highways regulates access via a permitting process
If the lines interfere with the road, the utility has to relocate or remove it

## Slide 7
NAME THAT UTILITY

## Slide 8
Name that Utility

## Slide 9
Name that Utility

## Slide 10
Name that Utility
WATER
SEWER

## Slide 11
Name that Utility

## Slide 12
SEWER PUMP STATION
Name that Utility

## Slide 13
Name that Utility

## Slide 14
TELECOMMUNICATION (UNDERGROUND PHONE)
PEDESTALS
Name that Utility

## Slide 15
Name that Utility

## Slide 16
Name that Utility
TELECOMMUNICATION (UNDERGROUND PHONE)
WATER FIRE HYDRANT
UG FIBER OPTIC

## Slide 17
Name that Utility

## Slide 18
AERIAL POLE ROUTE
ELECTRIC
CATV W/ SLACK
TELECOMMUNICATION (PHONE)
Name that Utility

## Slide 19
Locating underground utilities is becoming more of a challenge as the amount and variety of underground lines increase.
As the ground under our feet becomes more congested, it’s vital to identify the location of utilities to ensure safety and reduce cost.
Locating utilities before excavating

## Slide 20
CAMBY IND, NEAR INDIANAPOLIS
Locating utilities before excavating

## Slide 21
DALLAS FORT WORTH TX AREA
Locating utilities before excavating

## Slide 22
SAN ANTONIO, TX
Locating utilities before excavating

## Slide 23
Ground penetrating radar
Hydro excavation
Electromagnetic utility locating
What are the common underground utility location methods?

## Slide 24
Ground Penetrating Radar

## Slide 25
Ground Penetrating Radar
Uses high frequency pulses
Radio waves are emitted into the ground
Underground utilities deflect the radio wave back up
Requires experience and training

## Slide 26
Ground Penetrating Radar
Best imaging solution for both metallic and non-metallic targets
Both position and depth can be found
Detects changes in underground conditions by reflecting off any disturbance:
  Wet soil
  Rocks
  Metal
  Plastic

## Slide 27
Ground Penetrating Radar
Limitations:
  Some soils like shale or clay
  Only for shallow utilities
  Dense soil
  Crowded utilities

## Slide 28
Hydro or Vacuum Excavation (potholing)
Fast and non-destructive
High pressure air or water is used to break up the soil,
Soil is then vacuumed into a tank
Precisely locates the utility but only at this specific location
*Also known as potholing, hydro-digging, hydro-trenching or soft digging

## Slide 29
Electromagnetic Utility Locating
Most common method
Generates an electromagnetic signal
Commonly used to detect gas, electric, telephone, cable, propane, water, sewer, storm and irrigation lines

## Slide 30
Electromagnetic Utility Locating
Limitations:
Cannot locate plastic, concrete, clay or other non-ductile pipes
Doesn’t perform well beyond the depth of 10-15 feet

## Slide 31
Two parts: a transmitter and a receiver
The transmitter places a “signal” onto the line then
The signal is located with the receiver
The signal placed on the line is an electromagnetic frequency
How Electromagnetic Locating Works

## Slide 32
How Electromagnets Work

## Slide 34
Plastic Pipe:
  PVC (polyvinyl-chloride) is a type of plastic pipe. It is a commonly used pipe for drain and water lines. It’s strong, untouchable by chemicals, and seems to last forever!
Pipe Types

## Slide 35
HDPE high density polyethylene pipe:
  HDPE pipe is commonly used for sewer and storm water. It is more durable than standard PVC pipe and has become a popular material for underground piping systems.
Pipe Types
https://www.acmeplastics.com/what-is-hdpe

## Slide 36
Steel:
  Steel pipe is strong, and can be used to transport liquids and gases including water. It can have a useful lifetime of about 50 years.
Pipe Types

## Slide 37
Utility lines like gas lines are generally constructed plastic pipe.
So, tracer wire is run alongside or on top of the pipeline to make the line “locatable.”
Electromagnetic Utility Locating

## Slide 38
In these situations by having access to the system (e.g. a tracer wire box), a current can be induced on the tracer wire and the tracer wire can be located.
Electromagnetic Utility Locating

## Slide 39
Electromagnetic Utility Locating

## Slide 40
2 business days before you dig, call
811
Or (800) 752-6007
www.Kentucky811.org
DIG SAFE KENTUCKY!

## Slide 41
Locating utilities

## Slide 42
Locating utilities

## Slide 43
Connect to the metal tracer wire
Connect to the metal facility
Lay the transmitter over the line and induce signal onto it
Ways to induce field

## Slide 44
Connect to the metal tracer wire
Connect to the metal facility
Lay the transmitter over the line and induce signal onto it
Ways to induce field
First two methods are best, but require us to actually be able to touch the facility.

## Slide 45
Connect to the metal tracer wire
Connect to the metal facility
Lay the transmitter over the line and induce signal onto it
Ways to induce field
Last method puts signal onto everything in the ground and is imprecise, but sometimes the only option.

## Slide 47
Time to be locators!

## Slide 48
There are three lines in the project area:
  Schedule 40 PVC Water Line
  Polyethylene (PE) Sewer Line
  Steel Gas Line
Time to be locators!

## Slide 49
We’ve been called to locate them, where are they?
  Hook onto their exposed tracer wire or metal pipe
  Locate them
  Mark them
Time to be locators!

## Slide 51
THANK YOU!

## Slide 52
KYTC.KEEN@ky.gov
transportation.ky.gov/Education/Pages/KEEN.aspx
in partnership with: